## Sheet1
REF. | ITEM |  | UNIT OF | APPROX. | UNIT
NO. | NO. | DESCRIPTION | MEASURE | QTY. | PRICE | TOTAL
BASE BID
1 | 201 | CLEARING AND GRUBBING, AS PER PLAN | LUMP | 1
2 | 202 | REMOVED, AS PER PLAN | LUMP | 1
3 | 202 | ANCHOR ASSEMBLY REMOVED, TYPE A | EACH | 1
4 | 202 | CURB REMOVED | FT. | 130
5 | 301 | ASPHALT CONCRETE BASE, PG64-22 | C.Y. | 182
6 | 304 | AGGREGATE BASE | C.Y. | 38
7 | 407 | TACK COAT, APPLIED AT 0.10 GAL/S.Y. | GAL. | 98
8 | 408 | PRIME COAT, APPLIED AT 0.10 GAL/S.Y. | GAL. | 50
9 | 441 | ASPHALT CONCRETE INTERMEDIATE COURSE, TYPE 2, (448) | C.Y. | 2
10 | 441 | ASPHALT CONCRETE SURFACE COURSE, TYPE 1, PG 64-22 | C.Y. | 56
11 | 452 | 8" NON-REINFORCED CONCRETE PAVEMENT | S.Y. | 105
12 | 606 | ANCHOR ASSEMBLY, TYPE T | EACH | 1
13 | 609 | CURB REPLACED (IN-KIND) | FT. | 130
14 | 611 | 4" CONDUIT, TYPE B, 707.45, AS PER PLAN | FT. | 100
15 | 611 | 6" CONDUIT, TYPE B, 707.45, AS PER PLAN | FT. | 100
16 | 611 | 8" CONDUIT, TYPE B, 707.45, AS PER PLAN | FT. | 100
17 | 611 | 12" CONDUIT, TYPE B, 706.02, AS PER PLAN | FT. | 20
18 | 611 | 8" SANITARY SEWER REPLACED W/ WATER MAIN GRADE MATERIAL (PVC C-900 DR-18 MINIMUM) | FT. | 20
19 | 611 | 12" PVC SDR-35 SANITARY SEWER, AS PER PLAN | FT. | 1130
20 | 611 | 8" PVC SDR-35 SANITARY SEWER, AS PER PLAN | FT. | 13
21 | 611 | 8" PVC AWWA C-900 SANITARY SEWER FORCEMAIN, AS PER PLAN | FT. | 815
22 | 611 | 8" DIP CL-53 SANITARY SEWER FORCEMAIN, PROTECTO 401 LINED | FT. | 40
23 | 611 | SANITARY SEWER MANHOLE, AS PER PLAN | EACH | 9
24 | 611 | AUTOMATIC AIR VACUUM STATION, AS PER PLAN | EACH | 2
25 | 611 | SANITARY SEWER LATERAL REPAIR | FT. | 50
26 | 613 | FLOWABLE CONTROLLED DENSITY FILL | C.Y. | 100
27 | 614 | MAINTAINING TRAFFIC | LUMP | 1
28 | 623 | CONSTRUCTION LAYOUT STAKES AND SURVEYING | LUMP | 1
29 | 630 | REMOVAL OF GROUND MOUNTED SIGN AND REERECTION | EACH | 4
REF. | ITEM |  | UNIT OF | APPROX. | UNIT
NO. | NO. | DESCRIPTION | MEASURE | QTY. | PRICE | TOTAL
30 | 630 | REMOVAL OF GROUND MOUNTED POST SUPPORT AND REERECTION | EACH | 6
31 | 638 | 12" PVC AWWA C-900 DR-18 WATER MAIN, AS PER PLAN | FT. | 2130
32 | 638 | 12" DIP CL-53 WATER MAIN, AS PER PLAN | FT. | 123
33 | 638 | 4" WATER MAIN LOWERING, AS PER PLAN | FT. | 20
34 | 638 | 12" GATE VALVE | EACH | 7
35 | 638 | 8" GATE VALVE (SANITARY) | EACH | 5
36 | 638 | FIRE HYDRANT ASSEMBLY | EACH | 6
37 | 638 | 3/4" OR 1" WATER SERVICE BRANCH REPAIR | FT. | 30
38 | 638 | 1-1/2" WATER SERVICE REPAIR | FT. | 10
39 | 638 | 2" WATER SERVICE REPAIR | FT. | 10
40 | 644 | CROSSWALK LINE, 24" | FT. | 10
41 | 644 | CHANNELIZING LINE, 6" | FT. | 600
42 | 644 | EDGE LINE, 6" | FT. | 50
43 | 659 | SEEDING AND MULCHING, CLASS 1 | S.Y. | 5500
44 | 704 | BRICK, CONCRETE | S.F. | 5180
45 | 832 | EROSION CONTROL | EACH | 18000 | 1 | 18000
46 | SPEC | SANITARY LIFT STATION, AS PER PLAN | LUMP | 1
47 | SPEC | WATER TAP AND SAMPLING STATION, AS PER PLAN | EACH | 2
48 | SPEC | MAILBOX REMOVED AND RESET, AS PER PLAN | EACH | 1
49 | SPEC | JACK AND BORE 20" STEEL CASING PIPE W/ 12" CARRIER PIPE, AS PER PLAN | FT. | 455
50 | SPEC | JACK AND BORE 16" STEEL CASING PIPE W/ 8" CARRIER PIPE, AS PER PLAN | FT. | 140
51 |  | TOTAL INCIDENTALS
DUCTILE IRON DIRECTIONAL DRILLING 8" SANITARY FORCEMAIN AND 12" WATER MAIN
52 | 611 | 8" DIP CL-53 SANITARY SEWER FORCEMAIN, PROTECTO 401 LINED, INSTALLED BY HORIZONTALLY DIRECTIONAL DRILLING, AS PER PLAN | FT. | 798
53 | 638 | 12" DIP CL-53 WATER MAIN, INSTALLED BY HORIZONTALLY DIRECTIONALLY DRILLING, AS PER PLAN | FT. | 1182
TOTAL BASE BID
REF. | ITEM |  | UNIT OF | APPROX. | UNIT
NO. | NO. | DESCRIPTION | MEASURE | QTY. | PRICE | TOTAL
ALTNERATE #1
REPLACE 8" DUCTILE IRON DIRECTIONAL DRILL WITH 10" HDPE DIRECTIONAL DRILL, AND REPLACE 12" DUCTILE IRON DIRECTIONAL DRILL WITH 16" HDPE DIRECTIONAL DRILL
TOTAL INCIDENTALS (INSERT REF. NO. 51)
54 | 611 | 10" HDPE DR-9 SANITARY SEWER FORCEMAIN, INSTALLED BY HORIZONTALLY DIRECTIONAL DRILLING, AS PER PLAN | FT. | 798
55 | 638 | 16" HDPE DR-9 WATER MAIN, INSTALLED BY HORIZONTALLY DIRECTIONALLY DRILLING, AS PER PLAN | FT. | 1182
TOTAL ALTERNATE #1
ALTNERATE #2
REPLACE 8" DUCTILE IRON DIRECTIONAL DRILL WITH 10" HDPE DIRECTIONAL DRILL, AND KEEP 12" DUCTILE IRON DIRECTIONAL DRILL
TOTAL INCIDENTALS (INSERT REF. NO. 51)
56 | 611 | 10" HDPE DR-9 SANITARY SEWER FORCEMAIN, INSTALLED BY HORIZONTALLY DIRECTIONAL DRILLING, AS PER PLAN | FT. | 798
57 | 638 | 12" DIP CL-53 WATER MAIN, INSTALLED BY HORIZONTALLY DIRECTIONALLY DRILLING, AS PER PLAN | FT. | 1182
TOTAL ALTERNATE #2
ALTNERATE #3
KEEP 8" DUCTILE IRON DIRECTIONAL DRILL, AND REPLACE 12" DUCTILE IRON DIRECTIONAL DRILL WITH 16" HDPE DIRECTIONAL DRILL
TOTAL INCIDENTALS (INSERT REF. NO. 51)
58 | 611 | 8" DIP CL-53 SANITARY SEWER FORCEMAIN, PROTECTO 401 LINED, INSTALLED BY HORIZONTALLY DIRECTIONAL DRILLING, AS PER PLAN | FT. | 798
59 | 638 | 16" HDPE DR-9 WATER MAIN, INSTALLED BY HORIZONTALLY DIRECTIONALLY DRILLING, AS PER PLAN | FT. | 1182
TOTAL ALTERNATE #3